VILLAGE OF AMESVILLE

HOME OF THE COONSKIN LIBRARY

P.O. Box 190 Amesville, Ohio 45711

740-448-2411; fax 740-448-2411

WASTEWATER TAP PERMIT FORM 		MAY, 2020

Physical address of building or property: _______________________________________________________________________

Name of owner: __________________________________________________________________________________________

Owner's mailing address (street, city, state, zip code): ______________________________________________________________

Owner’s phone number: _____________________________________________________________________________________

Residential: _____	Home: _____     Apartment: _____     Trailer (in trailer park): _____     Vacation cottages: _____

Commercial: _____	Name of business: _______________________________________________________________________

Industrial: _____ Name of business: __________________________________________________________________________

Other: _____ 	Name: ________________________________________________________________________________

Name of contractor: ________________________________________________________________________________________

Contractor’s phone number: __________________________________________________________________________________

$25.00 Inspection fee attached	Yes _____     No _____

NEW RESIDENTIAL STRUCTURES

1.	Any residential structure constructed in the Village following completion of the Amesville Decentralized Wastewater Project is required to meet requirements set forth by the Ohio EPA, Athens County Health Department, and the Village regarding wastewater facilities.

2.	Any residential structure constructed in the Village following completion of the Amesville Decentralized Wastewater Project is required to pay the necessary fees required by the Ohio EPA, Athens County Health Department, and the Village.

3.	The Village shall not issue a permit to connect to a public wastewater system until the applicant for such a permit has deposited in cash, or by certified check payable to the Ohio EPA, Athens County Health Department, or Village, the fees to be determined in accordance with the current criteria.

4.	In the event the Village ascertains that any private onsite wastewater system has been constructed without a proper permit, the Village may disconnect such property from the private onsite wastewater system and require the property owner to follow rules set forth in this Ordinance.

5.	All new residential users proposing to connect to or to contribute to the wastewater works must obtain a residential discharge permit at least sixty (60) days prior to connecting to or contributing to the Village's sewage collection system.

6.	In support of the residential discharge permit application, the user shall submit, in units and terms appropriate for evaluation, the following information:

BUILDING SEWER LINE CONSTRUCTION AND MAINTENANCE

1.	All connections to a public wastewater system must be made in accordance with this Ordinance (see Exhibit B. Diagram of Customer Connection). All building sewer lines shall be inspected and approved by the Village after installation but before covering with backfill (see Exhibit C. Inspection Form). The person to whom the permit has been issued shall call the Village, requesting the inspection, at least two days before the inspection is desired. The connection shall not be made until approved by a representative of the Village and under their supervision.

2.	The inspection fee per building shall be $25.00. Payments must be made to the Village at the time of permit application.

3.	The building sewer line shall be constructed of a size not less than four inches, internal diameter, and shall be Schedule 40 PVC using proper bends or curves for all changes in alignment or grade. All joints and connections shall be made gas tight and watertight.  The Village may require the sewer tapper to demonstrate the tightness of the joints by such tests as he may deem necessary and require additional jointing material or concrete collars at any or all joints.

4.	The building sewer line shall have a minimum fall of two (2) inches per sixteen (16) linear foot of sewer from the building to the public wastewater system. The junction between the building sewer line and the house plumbing shall be made watertight. The interior of each length of pipe shall be made perfectly clean and free from offsets, fins and projections before the next length is connected thereto.  All building sewer lines shall be graded by line and pole, the line being first leveled from the building to the public wastewater system and then lowered at the down stream end to obtain the required fall.

5.	A cleanout should be constructed immediately outside the building.  The cleanout shall consist of a four (4) inch 45 degree wye-branch with eighth bends, or equal, aligning the riser pipe to grade.  The riser pipe shall be at grade level or an inch or two below the surface.  Caps for cleanouts on PVC pipe may be threaded inserts of the same material as the cleanout. Bends or 90-degree elbows with cleanouts shall be utilized for cleaning purposes as mentioned earlier.

6.	A separate and independent building sewer line shall be provided for each residence or building; except where permitted by the Village.

7.	Foundation drains shall not be connected, either directly or indirectly to the building sewer line or public wastewater system.  If any drains are installed, carrying surface or subsurface water, they shall be constructed to carry said water to the street, storm drains or other natural waterways.

8.	Surface water that collects in basement or foundation excavations shall not be discharged at any time into the building sewer line.  If the building sewer line is completed before the house plumbing can be connected thereto, the building or sewer tapper shall keep the end of the building sewer line tightly closed at all times with a plumber's plug or other water tight plug in order to prevent said surface or ground water from entering the building sewer line.

9.	Old or existing building sewer lines may be used in connection with new building or alterations only when it can be demonstrated that they conform in all respects to the requirements contained herein for new building sewer lines.

10.	Building sewer lines shall not be constructed closer than three feet to any exterior wall, cellar, basement or cistern nor shall they have less than two feet of earth or stone cover.

11.	Where the building sewer line will cross unstable soil or close to a tree where roots may enter the joints, extra heavy cast iron pipe, solidly caulked, may be required.  PVC pipe meeting AWWA C-900 standard or cast iron pipe shall be required when the building sewer line is within ten feet of a water service line, well, spring, cistern or other sources of water supply.

12.	All excavation for building sewer lines shall be by open cut from the surface unless otherwise approved by the Village.  The sides of the trench shall be substantially vertical, using such sheeting and bracing as may be necessary to accomplish this result.  The bottom of the excavation shall be shaped to fit the lower half of the sewer so that the pipe will have uniform bearing from end to end.  In the event the trench is excavated below the required grade of the pipe, the excess space shall be filled with pea gravel or stone not over ¾-inch in diameter.  The width of the trench at the top of the pipe shall not exceed two feet plus the outside diameter of the pipe nor shall the width at that point be less than one foot plus the outside diameter of the pipe.  Under no condition shall a 90-degree bend pipe fitting be installed.

13.	Water and gas service shall not be laid in the same trench as the building sewer line.

14.	The person to whom a permit is issued shall be responsible for obtaining any required permits to open cut any street, road or alley from the appropriate political body, official or person having Village or jurisdiction over such work.

15.	The building sewer line shall be backfilled to an elevation at least six inches over the top of the pipe by tamping in six inch layers.  Soil containing stones larger than three inches, in the greatest dimension, shall not be used for backfill.  The balance of the backfill may be deposited in any manner which will not damage the pipe or disturb the alignment or grade of the building sewer line; except that the balance of the backfilling shall be done in such a manner and with such material as may be required by the permit.

16.	All joints and connections shall be made gas-tight and water-tight.  Mission or Fernco type flexible couplings may be acceptable in joining dissimilar materials, subject to approval by the Village.

17.	All excavations for building sewer line installations shall be adequately guarded with barricades and lights so as to protect the public from hazard.  Streets, sidewalks, parkways and other public property disturbed in the course of the work shall be restored in a manner satisfactory to the Village.

18.	All vents shall be constructed so as to prevent foreign objects from being introduced into the public wastewater system.  Tees will not be permitted in any part of the building sewer line.  In order to protect the public wastewater system, the plumbing for all buildings to be connected to the public wastewater system shall be installed in accordance with the minimum requirements of the Plumbing Code, Athens County Health Department, and any applicable standards established by the State of Ohio.  The Village may require corrective work on the plumbing systems of any existing buildings where serious violations of accepted good practices in plumbing are observed.  Such corrective action shall be completed prior to connection of the building sewer line from the affected structure to the public wastewater system.

19.	The permit holder will be required to repair or restore any drains or service lines damaged or disturbed by him during the construction of the building sewer line.

20.	Following construction of a building sewer line, the property owner shall own, maintain, repair or replace the building sewer line from the building foundation to the public wastewater system.

21.	If the Village receives a service call for a property to investigate a sewage backup and performs services to clean a building sewer line for which the owner is responsible, the Village may charge the owner for labor, material and equipment costs incurred.  Such charges may be placed on the owner's monthly sewer bill.

22.	Property owners who are required to connect to a public wastewater system are responsible and required to abandon their existing private onsite wastewater system or any other facility meant to collect sewage from the building by pumping the septic tank or facility, demolishing the top of the tank or facility, creating holes in the sides of the tank or facility, and filling the tank or facility with sand or gravel. Tanks or facilities cannot be filled with dirt.

23.	The property owner is responsible for ensuring that all wastewater drains are properly plumbed into the building sewer line, otherwise the Village or Athens County Health Department may order the owner to make said connection.

EXHIBIT B.	 DIAGRAM OF CUSTOMER CONNECTION

EXHIBIT C.	 INSPECTION FORM

Date: __________________________________

Physical address of building or property: _______________________________________________________________________

Name of owner: __________________________________________________________________________________________

Owner's mailing address: ___________________________________________________________________________________

1. Pipe type and size acceptable: 					Yes _____     No _____

2. Minimum fall one (1) inch per 16 feet achieved: 				Yes _____     No _____

3. Cleanout located immediately outside building: 				Yes _____     No _____

4. Cleanout located at least every 75 feet: 				Yes _____     No _____

5. Cleanout(s) constructed properly: 				Yes _____     No _____

6. Foundation drains not connected to the sewer line: 				Yes _____     No _____

7. Gutters or any other surface or storm water sources not connected to the sewer line: 	Yes _____     No _____

8. Sewer line at least three (3) feet from exterior wall, cellar, basement, or cistern: 	Yes _____     No _____

9. Sewer line trench meets requirements set forth:				Yes _____     No _____

10. Water and/or gas service not located in the same trench as sewer line:		Yes _____     No _____

11. Sewer line joints and connections appear water-tight and gas-tight:			Yes _____     No _____

12. Septic tank or other facility meant to collect sewage properly abandoned:		Yes _____     No _____

Item(s) requiring correction and explanation of problem. List the number of any inspection item where ‘no’ was check marked. Item(s) listed here must be corrected and inspected before the property owner is permitted to backfill the trench.

Item # _____	Explanation: ____________________________________________________________________________

Item # _____	Explanation: ____________________________________________________________________________

Item # _____	Explanation: ____________________________________________________________________________

Item # _____	Explanation: ____________________________________________________________________________

Item # _____	Explanation: ____________________________________________________________________________

Sewer line construction approved:	Yes _____     No _____     Pending corrections _____

__________________________________________________		__________________

Signature of Inspector					Date